LOYOLA COLLEGE (AUTONOMOUS), CHENNAI – 600 034

M.Sc. DEGREE EXAMINATION – CHEMISTRY

FIRST SEMESTER – APRIL 2007

CH 1809 - ANALYTICAL CHEMISTRY

Date & Time: 02/05/2007 / 1:00 - 4:00      Dept. No.                                       Max. : 100 Marks

# PART – A

Answer ALL the questions:							( 10 x 2 = 20 )

- What is Correlation Coefficient?  What is its significance?

- 100.00 ML of well water is found to contain 0.0400g calcium ion.  Express the concentration of Ca+2 in Well water in ppm.

- Mention the factors which affect the pm  value in complexometry.

- Draw the titration curves for the following.

  - 10.00ML of 10-2 M H2 SO4 vs 10-2 M NaOH.

  - 10.00ML of 10-2 M  vs  10-2 M NaOH.

- List the factors which influence the thermogram.

- State the principle involved in the analysis of Fe3+ by Spectrophotocolorimetric Method.

- Match the following:

(i)  Electrogravimetry   (ii)  Flame Photometry  (iii) Polarography  (iv)  Flourescence  Method.

(A) K+  (B) Pb2+,  Bi3+ in a mixture (C) Cu2+  (D)  Benzphrene in cigarette Smoke.

- Be, Al,  and La cannot be accurately determined by atomic absorption method.  Explain.

- 0.28 of p-vitrophenol in IN-NaOH showed an absorbance of 0.500 at 400mm.  The thickness of the all used is 0.1cm.  Calculate the molar absorption coefficient .

- Mention the principle used in the anodic stripping voltammetry.

# PART – B

Answer any EIGHT questions:							( 8 x 5 = 40)

- How are Authentic Results produced in research?

- Show that the equivalence point potential for    is dependent on PH.

- Compare  at the equivalence point for the following titration’s:

  - 20.00ML of 0.0250M

  - 20.00ML of 0.0250M CH3 COOH vs 0.0250M O(Ka for CH3 COOH is 10-5)

14.  Ka1, Ka2, Ka3 and Ka4 for EDTA are 10-2, 10-3, 10-8 and 10-12 respectively.  Calculate the        conditional stability constant for the following in 10-2 M  .

.

15.  Discuss the thermogram of CuSO4.5H2O.

16.  Explain the principle of gas chromatography.

17.  How is Lambert-Beer’s Law verified?  Mention the deviations.

18.  How are the sensitivity and selectivity enhanced in the spectrophotocolorimetric method of         analysis?

19.  Mention any tour applications of Spectroflourimetric Method of analysis.

- How is Castant potential Calomety carried out?

- Discuss the estimation of sulphate by turbidimetric method.

- How is cyclic voltammogram recorded?  Discuss the parameters that influence the peak potentials and peak current.

# PART – C

Answer any FOUR questions:								( 4 x 10 = 40 )

- A standard solution was put through appropriate dilutions to give the concentrations of Fe(II)  shown below.

The Fe(II)/i,  10 Phenanthroline complex was then developed in 25.00ML aliquots of these solutions, following which each was diluted to 50.00ML.  The following absorbance’s (1.00cm cell)  were recorded at 510 mm.

| Conc. of Fe(II); ppm | A510 |
| --- | --- |
| 4.00 | 0.160 |
| 10.00 | 0.390 |
| 16.00 | 0.630 |
| 24.00 | 0.950 |
| 32.00 | 1.260 |
| 40.00 | 1.580 |

Assuming a linear relationship between the variables, apply the method of least squares to arrive at the equation for the best fit.  Calculate the concentration of Fe(II) in a sample that gave an absorbance of 1.510 which is the mean of three measurements.  Also calculate the standard deviation of the slope and the result.

- Calamine which is used for relief of skin irritations is a mixture of ZnO and Fe2O3.  A 1.022g sample of dried calamine was dissolved in acid and diluted to 250.00ML.  KF was added to a 10.00ML aliquot of the diluted solution to mask the iron;  after suitable adjustment of the PH the Zn+2 consumed 38.78 ML of 0.01294M EDTA.  A second 50.00ML aliquot was suitably buffered and titrated with 2.40ML of 0.002727 M ZnY-2  solution;

Fe+3 + ZnY-2  →  FeY- + Zn+2.

Calculate the percentages of ZnO and Fe2O3 in the sample.  Compare the stability constants of  ZnY-2  and  FeY-.

25.  Plot the titration curve for the titration of 40.00ML of 0.0125M Mg+2 vs 0.0500M EDTA.  Keff for MgY-2 at PH 10 is 1018.

26.  Describe the estimation of Copper by electrogravimentric method.

27.  Discuss the principle and instrumentation involved in atomic absorption method.  How is ICP method is more superior to AAS method?

- Describe the polarograpic set-up.  How are Zn2+ and Cd2+ in a mixture can be analysed by its method.

********

# Text boxes

LM 29